## Setting
SlackBus | MVA_p.u. | f0 | Df_Max | Load_Damp_Cof | VOLL_Flag | VOLL | VOSL_Flag | VOSL | VOIR_Flag | VOIR | VOIC_Flag | VOIC | Load_Read_Form | Loss_Read_Form | Loss_Rate | AS_Read_Form | DAUC_res | RTUC_res | RTED_res | DAUC_hor | RTUC_hor | RTED_hor | Simulation_Length | RTUC_LookAhead | Forecast_Method | Operation_Mode | Multi_Days | Multi_Intervals | DAED_flag
3 | 10 | 60 | 0.7 | 1.25 | 1 | 100000 | 1 | 100000 | 1 | 100000 | 1 | 100000 | 0 | 0 | 0.018 | 0 | 1 | 1 | 5 | 24 | 3 | 24 | 24 | 1 | 0 | 1 | 1 | 70 | 0
Note on N1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 0: Directly read from input (bus-time input) 1: Apply load distribution factor
Note on O1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 0: Apply the loss factor on the right column 1: Apply the loss factor read from the timeseries input
Note on Q1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 0: Apply the percentage ratio from the right columns to the load 1: Directly read from timeseries inputs
Note on Z1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 0 means perfect forecast, 1~ means others
Note on AA1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Operation modes: 1: DAUC only 2: RTED only 3: DAUC+RTED 4: DAUC+RTUC+RTED
Note on AB1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: How many days to run Functional only if Operation_Mode is set as 1, 3, 4, i.e., DAUC is functional. If Operation_Mode is set 3 or 4, make sure the input contains sufficient RT input data for multiple days (mod 288 = 0)
Note on AC1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: How many intervals to run. Functional only when Operation_Mode is set 2, i.e., RTED only. Make sure the input contains sufficient RT data for multiple intervals.
Note on AD1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: DAED flag. =1: Run DAED after each DAUC =0: Do not run DAED

## Bus
busname | busID | Region
3 | 1 | 1
4 | 2 | 1
5 | 3 | 1
7 | 4 | 1
8 | 5 | 1
9 | 6 | 1
12 | 7 | 1
13 | 8 | 1
15 | 9 | 1
16 | 10 | 1
18 | 11 | 1
22 | 12 | 1
23 | 13 | 1
25 | 14 | 1
29 | 15 | 1
30 | 16 | 1
31 | 17 | 1
33 | 18 | 1
34 | 19 | 1
35 | 20 | 1
39 | 21 | 1
40 | 22 | 1
41 | 23 | 1
42 | 24 | 1
43 | 25 | 1
44 | 26 | 1
45 | 27 | 1
48 | 28 | 1
50 | 29 | 1
61 | 30 | 1
64 | 31 | 1
73 | 32 | 1
74 | 33 | 1
75 | 34 | 1
77 | 35 | 1
82 | 36 | 1
83 | 37 | 1
84 | 38 | 1
88 | 39 | 1
92 | 40 | 1
93 | 41 | 1
97 | 42 | 1
98 | 43 | 1
101 | 44 | 1
102 | 45 | 1
103 | 46 | 1
104 | 47 | 1
105 | 48 | 1
106 | 49 | 1
107 | 50 | 1
108 | 51 | 1
109 | 52 | 1
110 | 53 | 1
111 | 54 | 1
112 | 55 | 1
123 | 56 | 1
125 | 57 | 1
127 | 58 | 1
129 | 59 | 1
130 | 60 | 1
134 | 61 | 1
135 | 62 | 1
136 | 63 | 1
139 | 64 | 1
141 | 65 | 1
142 | 66 | 1
145 | 67 | 1
148 | 68 | 1
150 | 69 | 1
155 | 70 | 1
161 | 71 | 1
164 | 72 | 1
173 | 73 | 1
174 | 74 | 1
175 | 75 | 1
177 | 76 | 1
182 | 77 | 1
188 | 78 | 1
192 | 79 | 1
200 | 80 | 1
202 | 81 | 1
203 | 82 | 1
204 | 83 | 1
205 | 84 | 1
206 | 85 | 1
209 | 86 | 1
213 | 87 | 1
216 | 88 | 1
217 | 89 | 1
223 | 90 | 1
225 | 91 | 1
234 | 92 | 1
235 | 93 | 1
236 | 94 | 1
241 | 95 | 1
250 | 96 | 1
301 | 97 | 1
302 | 98 | 1
303 | 99 | 1
304 | 100 | 1
305 | 101 | 1
306 | 102 | 1
325 | 103 | 1
335 | 104 | 1
336 | 105 | 1
401 | 106 | 1
402 | 107 | 1
403 | 108 | 1
404 | 109 | 1
405 | 110 | 1
407 | 111 | 1
415 | 112 | 1
418 | 113 | 1
422 | 114 | 1
425 | 115 | 1
430 | 116 | 1
431 | 117 | 1
435 | 118 | 1
436 | 119 | 1
440 | 120 | 1
443 | 121 | 1
493 | 122 | 1
501 | 123 | 1
502 | 124 | 1
503 | 125 | 1
504 | 126 | 1
511 | 127 | 1
534 | 128 | 1
602 | 129 | 1
613 | 130 | 1
617 | 131 | 1
623 | 132 | 1
629 | 133 | 1
636 | 134 | 1
650 | 135 | 1
655 | 136 | 1
671 | 137 | 1
723 | 138 | 1
729 | 139 | 1
750 | 140 | 1
803 | 141 | 1
804 | 142 | 1
806 | 143 | 1
809 | 144 | 1
812 | 145 | 1
813 | 146 | 1
816 | 147 | 1
817 | 148 | 1
819 | 149 | 1
823 | 150 | 1
826 | 151 | 1
827 | 152 | 1
831 | 153 | 1
834 | 154 | 1
838 | 155 | 1
840 | 156 | 1
844 | 157 | 1
845 | 158 | 1
846 | 159 | 1
848 | 160 | 1
849 | 161 | 1
850 | 162 | 1
858 | 163 | 1
892 | 164 | 1
893 | 165 | 1
898 | 166 | 1
917 | 167 | 1
971 | 168 | 1
1203 | 169 | 1
1230 | 170 | 1
2030 | 171 | 1
2060 | 172 | 1
2061 | 173 | 1
2062 | 174 | 1
2090 | 175 | 1
2091 | 176 | 1
4002 | 177 | 1
4250 | 178 | 1
4430 | 179 | 1
5340 | 180 | 1
7290 | 181 | 1
8340 | 182 | 1
12031 | 183 | 1
12032 | 184 | 1
12033 | 185 | 1
12034 | 186 | 1
12035 | 187 | 1
12036 | 188 | 1
12037 | 189 | 1
12038 | 190 | 1
90971 | 191 | 1
92031 | 192 | 1
92032 | 193 | 1
92061 | 194 | 1
93101 | 195 | 1
93102 | 196 | 1
95000 | 197 | 1
96000 | 198 | 1

## Generator
number | genname | busname | Pmin | Pmax | minON | minOFF | Gen_Type | InitStatus | InitHour | InitPow | SUCost | SDCost | No_Load_Cost | Ramp_Rate | SUTime | SDTime | Cost1 | MW1 | Cost2 | MW2 | Cost3 | MW3 | Cost4 | MW4 | Ri | PFR_up_Flag | PFR_dn_Flag | AGC_up_Flag | AGC_dn_Flag | Spin_Flag | NonSpin_Flag | PFR_up_Price | PFR_dn_Price | AGC_up_Price | AGC_dn_Price | Spin_Price | NonSpin_Price | Must_Run | Flexibility | RTPlanCommit
3 | Kahului3 | 103 | 3 | 12 | 0.2 | 0.2 | Gas | 1 | 24 | 8 | 500 | 0 | 234.4632 | 0.5 | 15 | 15 | 147.018 | 5.1465 | 148.5221 | 7.2929 | 150.0263 | 9.4394 | 151.5004 | 11.5 | 0.44346 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
4 | Kahului4 | 104 | 3 | 12.8 | 0.2 | 0.2 | Gas | 1 | 24 | 8 | 500 | 0 | 251.0697 | 1 | 15 | 15 | 139.4644 | 5.1465 | 155.3975 | 7.2929 | 171.3306 | 9.4394 | 186.945 | 11.5 | 0.38388 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
5 | Maalaea01 | 105 | 2.5 | 2.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 206.9889 | 2 | 15 | 15 | 206.9889 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0.69767 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
6 | Maalaea02 | 105 | 2.5 | 2.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 206.9889 | 2 | 15 | 15 | 206.9889 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0.69767 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
7 | Maalaea03 | 105 | 2.5 | 2.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 206.9889 | 2 | 15 | 15 | 206.9889 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0.69767 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
8 | Maalaea04 | 106 | 1.86 | 6.16 | 0.2 | 0.2 | Gas | 1 | 24 | 2 | 500 | 0 | 238.7428 | 1 | 15 | 15 | 147.3086 | 2.7817 | 173.5538 | 3.7034 | 199.7991 | 4.6252 | 225.5194 | 5.51 | 0.34286 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
9 | Maalaea05 | 106 | 1.86 | 6.16 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 238.7428 | 1 | 15 | 15 | 147.3086 | 2.7817 | 173.5538 | 3.7034 | 199.7991 | 4.6252 | 225.5194 | 5.51 | 0.34286 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
10 | Maalaea06 | 106 | 1.86 | 6.16 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 238.7428 | 1 | 15 | 15 | 147.3086 | 2.7817 | 173.5538 | 3.7034 | 199.7991 | 4.6252 | 225.5194 | 5.51 | 0.34286 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
11 | Maalaea07 | 107 | 1.86 | 6.16 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 238.7428 | 1 | 15 | 15 | 147.3086 | 2.7817 | 173.5538 | 3.7034 | 199.7991 | 4.6252 | 225.5194 | 5.51 | 0.47143 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
12 | Maalaea08 | 107 | 1.86 | 6.16 | 0.2 | 0.2 | Gas | 1 | 24 | 5 | 500 | 0 | 224.7628 | 1 | 15 | 15 | 164.3121 | 2.7741 | 172.9529 | 3.6883 | 181.5937 | 4.6024 | 190.0617 | 5.48 | 0.47143 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
13 | Maalaea09 | 107 | 1.86 | 6.16 | 0.2 | 0.2 | Gas | 1 | 24 | 5 | 500 | 0 | 227.8754 | 1 | 15 | 15 | 145.5184 | 2.7741 | 166.5848 | 3.6883 | 187.6512 | 4.6024 | 208.2962 | 5.48 | 0.47143 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
14 | Maalaea10 | 108 | 7.87 | 13.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 181.7769 | 1 | 15 | 15 | 176.1123 | 8.9988 | 181.9322 | 10.1276 | 187.752 | 11.2564 | 193.4555 | 12.34 | 0.17274 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
15 | Maalaea11 | 108 | 7.87 | 13.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 181.7769 | 1 | 5 | 15 | 176.1123 | 8.9988 | 181.9322 | 10.1276 | 187.752 | 11.2564 | 193.4555 | 12.34 | 0.17274 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
16 | Maalaea12 | 109 | 7.87 | 13.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 181.7769 | 1 | 15 | 15 | 176.1123 | 8.9988 | 181.9322 | 10.1276 | 187.752 | 11.2564 | 193.4555 | 12.34 | 0.21113 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
17 | Maalaea13 | 109 | 7.87 | 13.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 181.7769 | 1 | 15 | 15 | 176.1123 | 8.9988 | 181.9322 | 10.1276 | 187.752 | 11.2564 | 193.4555 | 12.34 | 0.21113 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
18 | MaalaeaX1 | 110 | 2.5 | 2.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 206.9888 | 2 | 15 | 15 | 206.9888 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0 | 2.5 | 1.7442 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
19 | MaalaeaX2 | 110 | 2.5 | 2.75 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 206.9889 | 2 | 15 | 15 | 206.9889 | 2.5 | 0 | 2.5 | 0 | 2.5 | 0 | 2.5 | 1.7442 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
20 | Maalaea14cc | 301 | 5.88 | 21.45 | 0.2 | 0.2 | Gas | 0 | 24 | 0 | 500 | 0 | 374.3987 | 2 | 15 | 15 | 133.0966 | 9.731 | 153.5534 | 13.582 | 174.0103 | 17.433 | 194.058 | 21.13 | 0.089519 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0
21 | Maalaea15cc | 303 | 3.7318 | 15 | 0.2 | 0.2 | Gas | 1 | 24 | 4 | 1000 | 0 | 562.8069 | 2 | 15 | 15 | 426.1259 | 6.1685 | 436.3286 | 8.6051 | 446.5313 | 11.0418 | 456.53 | 13.381 | 0.12973 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
22 | Maalaea16cc | 302 | 5.88 | 21.45 | 0.2 | 0.2 | Gas | 1 | 24 | 6 | 500 | 0 | 374.3987 | 2 | 15 | 15 | 133.0966 | 9.731 | 153.5534 | 13.582 | 174.0103 | 17.433 | 194.058 | 21.13 | 0.089519 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
23 | Maalaea17cc | 304 | 5.93 | 21.45 | 0.2 | 0.2 | Gas | 1 | 24 | 6 | 500 | 0 | 325.9685 | 2 | 15 | 15 | 168.5103 | 9.8554 | 170.3501 | 13.7807 | 172.19 | 17.7061 | 173.9931 | 21.4744 | 0.089519 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
24 | Maalaea18cc | 306 | 2.9643 | 14.8 | 0.2 | 0.2 | Gas | 1 | 24 | 3 | 500 | 0 | 749.3498 | 2 | 15 | 15 | 344.0336 | 5.4969 | 377.1424 | 8.0294 | 410.2511 | 10.562 | 442.6977 | 12.9933 | 0.12973 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
25 | Maalaea19cc | 305 | 5.93 | 21.45 | 0.2 | 0.2 | Gas | 1 | 24 | 5.93 | 500 | 0 | 325.9685 | 2 | 15 | 15 | 168.5103 | 9.8554 | 170.3501 | 13.7807 | 172.19 | 17.7061 | 173.9931 | 21.4744 | 0.089519 | 1 | 0 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 1
26 | AWE1 | 92031 | 0 | 10.5 | 0 | 0 | Wind-2 | 1 | 24 | 0.35 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 10.5 | 0 | 10.5 | 0 | 10.5 | 0 | 10.5 | 0.003 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
27 | AWE2 | 92032 | 0 | 10.5 | 0 | 0 | Wind-2 | 1 | 24 | 0.35 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 10.5 | 0 | 10.5 | 0 | 10.5 | 0 | 10.5 | 0.003 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
28 | KWP1 | 90971 | 0 | 30 | 0 | 0 | Wind-2 | 1 | 24 | 28.2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30 | 0.004 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
29 | KWP2 | 92061 | 0 | 21 | 0 | 0 | Wind-2 | 1 | 24 | 20.7 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 21 | 0 | 21 | 0 | 21 | 0 | 21 | 0.004 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
30 | SMRR1 | 95000 | 0 | 2.87 | 0 | 0 | PV-2 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.87 | 0 | 2.87 | 0 | 2.87 | 0 | 2.87 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.005 | 0.01 | 0.01 | 0 | 0 | 1
31 | SMRR2 | 96000 | 0 | 2.87 | 0 | 0 | PV-2 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.87 | 0 | 2.87 | 0 | 2.87 | 0 | 2.87 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.004 | 0.01 | 0.01 | 0 | 0 | 1
32 | M014 | 1203 | 0 | 15 | 0 | 0 | PV-2 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 15 | 0 | 15 | 0 | 15 | 0 | 15 | 0.12559 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.003 | 0.01 | 0.01 | 0 | 0 | 1
33 | M0041 | 93101 | 0 | 30 | 0 | 0 | PV-2 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30 | 0.06 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.002 | 0.01 | 0.01 | 0 | 0 | 1
34 | M0042 | 93102 | 0 | 30 | 0 | 0 | PV-2 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 30 | 0 | 30 | 0 | 30 | 0 | 30 | 0.06 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
32 | DPV1 | 13 | 0 | 2.614 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.614 | 0 | 2.614 | 0 | 2.614 | 0 | 2.614 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
33 | DPV2 | 98 | 0 | 0.419 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.419 | 0 | 0.419 | 0 | 0.419 | 0 | 0.419 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
34 | DPV3 | 112 | 0 | 2.128 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.128 | 0 | 2.128 | 0 | 2.128 | 0 | 2.128 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
35 | DPV4 | 123 | 0 | 1.341 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.341 | 0 | 1.341 | 0 | 1.341 | 0 | 1.341 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
36 | DPV5 | 125 | 0 | 2.48 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.48 | 0 | 2.48 | 0 | 2.48 | 0 | 2.48 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
37 | DPV6 | 129 | 0 | 0.937 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.937 | 0 | 0.937 | 0 | 0.937 | 0 | 0.937 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
38 | DPV7 | 130 | 0 | 2.614 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.614 | 0 | 2.614 | 0 | 2.614 | 0 | 2.614 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
39 | DPV8 | 134 | 0 | 0.736 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.736 | 0 | 0.736 | 0 | 0.736 | 0 | 0.736 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
40 | DPV9 | 135 | 0 | 4.81 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 4.81 | 0 | 4.81 | 0 | 4.81 | 0 | 4.81 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
41 | DPV10 | 136 | 0 | 1.539 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.539 | 0 | 1.539 | 0 | 1.539 | 0 | 1.539 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
42 | DPV11 | 139 | 0 | 4.343 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 4.343 | 0 | 4.343 | 0 | 4.343 | 0 | 4.343 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
43 | DPV12 | 141 | 0 | 0.049 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.049 | 0 | 0.049 | 0 | 0.049 | 0 | 0.049 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
44 | DPV13 | 142 | 0 | 0.08 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.08 | 0 | 0.08 | 0 | 0.08 | 0 | 0.08 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
45 | DPV14 | 150 | 0 | 3.643 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3.643 | 0 | 3.643 | 0 | 3.643 | 0 | 3.643 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
46 | DPV15 | 155 | 0 | 0.655 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.655 | 0 | 0.655 | 0 | 0.655 | 0 | 0.655 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
47 | DPV16 | 173 | 0 | 0.637 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.637 | 0 | 0.637 | 0 | 0.637 | 0 | 0.637 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
48 | DPV17 | 174 | 0 | 0.207 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.207 | 0 | 0.207 | 0 | 0.207 | 0 | 0.207 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
49 | DPV18 | 175 | 0 | 0.525 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.525 | 0 | 0.525 | 0 | 0.525 | 0 | 0.525 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
50 | DPV19 | 192 | 0 | 1.118 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.118 | 0 | 1.118 | 0 | 1.118 | 0 | 1.118 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
51 | DPV20 | 203 | 0 | 7.533 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 7.533 | 0 | 7.533 | 0 | 7.533 | 0 | 7.533 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
52 | DPV21 | 204 | 0 | 1.496 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.496 | 0 | 1.496 | 0 | 1.496 | 0 | 1.496 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
53 | DPV22 | 205 | 0 | 2.667 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.667 | 0 | 2.667 | 0 | 2.667 | 0 | 2.667 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
54 | DPV23 | 209 | 0 | 0.066 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.066 | 0 | 0.066 | 0 | 0.066 | 0 | 0.066 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
55 | DPV24 | 216 | 0 | 1.824 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.824 | 0 | 1.824 | 0 | 1.824 | 0 | 1.824 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
56 | DPV25 | 225 | 0 | 2.477 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.477 | 0 | 2.477 | 0 | 2.477 | 0 | 2.477 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
57 | DPV26 | 234 | 0 | 2.627 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.627 | 0 | 2.627 | 0 | 2.627 | 0 | 2.627 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
58 | DPV27 | 235 | 0 | 19.88 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 19.88 | 0 | 19.88 | 0 | 19.88 | 0 | 19.88 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
59 | DPV28 | 241 | 0 | 0.093 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.093 | 0 | 0.093 | 0 | 0.093 | 0 | 0.093 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
60 | DPV29 | 325 | 0 | 0.454 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.454 | 0 | 0.454 | 0 | 0.454 | 0 | 0.454 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
61 | DPV30 | 335 | 0 | 1.446 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.446 | 0 | 1.446 | 0 | 1.446 | 0 | 1.446 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
62 | DPV31 | 336 | 0 | 12.941 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12.941 | 0 | 12.941 | 0 | 12.941 | 0 | 12.941 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
63 | DPV32 | 403 | 0 | 0.792 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.792 | 0 | 0.792 | 0 | 0.792 | 0 | 0.792 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
64 | DPV33 | 404 | 0 | 0.655 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.655 | 0 | 0.655 | 0 | 0.655 | 0 | 0.655 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
65 | DPV34 | 405 | 0 | 1.305 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.305 | 0 | 1.305 | 0 | 1.305 | 0 | 1.305 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
66 | DPV35 | 415 | 0 | 3.771 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3.771 | 0 | 3.771 | 0 | 3.771 | 0 | 3.771 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
67 | DPV36 | 418 | 0 | 0.775 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.775 | 0 | 0.775 | 0 | 0.775 | 0 | 0.775 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
68 | DPV37 | 425 | 0 | 1.792 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.792 | 0 | 1.792 | 0 | 1.792 | 0 | 1.792 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
69 | DPV38 | 431 | 0 | 1.179 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.179 | 0 | 1.179 | 0 | 1.179 | 0 | 1.179 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
70 | DPV39 | 435 | 0 | 5.873 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 5.873 | 0 | 5.873 | 0 | 5.873 | 0 | 5.873 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
71 | DPV40 | 436 | 0 | 0.305 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.305 | 0 | 0.305 | 0 | 0.305 | 0 | 0.305 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
72 | DPV41 | 440 | 0 | 1.38 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.38 | 0 | 1.38 | 0 | 1.38 | 0 | 1.38 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
73 | DPV42 | 443 | 0 | 1.501 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.501 | 0 | 1.501 | 0 | 1.501 | 0 | 1.501 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
74 | DPV43 | 493 | 0 | 1.317 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.317 | 0 | 1.317 | 0 | 1.317 | 0 | 1.317 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
75 | DPV44 | 534 | 0 | 0.534 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.534 | 0 | 0.534 | 0 | 0.534 | 0 | 0.534 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
76 | DPV45 | 723 | 0 | 1.674 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.674 | 0 | 1.674 | 0 | 1.674 | 0 | 1.674 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
77 | DPV46 | 729 | 0 | 1.596 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.596 | 0 | 1.596 | 0 | 1.596 | 0 | 1.596 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
78 | DPV47 | 750 | 0 | 3.116 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3.116 | 0 | 3.116 | 0 | 3.116 | 0 | 3.116 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
79 | DPV48 | 803 | 0 | 3.387 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3.387 | 0 | 3.387 | 0 | 3.387 | 0 | 3.387 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
80 | DPV49 | 817 | 0 | 1.712 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.712 | 0 | 1.712 | 0 | 1.712 | 0 | 1.712 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
81 | DPV50 | 834 | 0 | 1.574 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.574 | 0 | 1.574 | 0 | 1.574 | 0 | 1.574 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
82 | DPV51 | 844 | 0 | 0.833 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.833 | 0 | 0.833 | 0 | 0.833 | 0 | 0.833 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
83 | DPV52 | 845 | 0 | 0.671 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.671 | 0 | 0.671 | 0 | 0.671 | 0 | 0.671 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
84 | DPV53 | 846 | 0 | 0.341 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.341 | 0 | 0.341 | 0 | 0.341 | 0 | 0.341 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
85 | DPV54 | 917 | 0 | 3.983 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3.983 | 0 | 3.983 | 0 | 3.983 | 0 | 3.983 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
86 | DPV55 | 1230 | 0 | 1.341 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.341 | 0 | 1.341 | 0 | 1.341 | 0 | 1.341 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
87 | DPV56 | 2030 | 0 | 7.533 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 7.533 | 0 | 7.533 | 0 | 7.533 | 0 | 7.533 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
88 | DPV57 | 4250 | 0 | 1.792 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.792 | 0 | 1.792 | 0 | 1.792 | 0 | 1.792 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
89 | DPV58 | 4430 | 0 | 2.387 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.387 | 0 | 2.387 | 0 | 2.387 | 0 | 2.387 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
90 | DPV59 | 5340 | 0 | 2.45 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2.45 | 0 | 2.45 | 0 | 2.45 | 0 | 2.45 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
91 | DPV60 | 7290 | 0 | 1.596 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.596 | 0 | 1.596 | 0 | 1.596 | 0 | 1.596 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1
92 | DPV61 | 8340 | 0 | 1.858 | 0 | 0 | PV-1 | 1 | 24 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1.858 | 0 | 1.858 | 0 | 1.858 | 0 | 1.858 | 0.002 | 0 | 0 | 0 | 0 | 1 | 1 | 0.001 | 0.001 | 0.001 | 0.001 | 0.01 | 0.01 | 0 | 0 | 1

## ESS
number | essname | busname | ESS_Type | Capacity | SOC_Max | SOC_Min | ETA_ch | ETA_dis | ESS_LossRate | CH_Max | DIS_Max | Min_Ch_Time | Min_Dis_Time | Initial_Ch_Status | Initial_Dis_Status | Initial_Ch_Time | Initial_Dis_Time | ESS_Pow0 | ESS_RR | ESS_InitSOC | Final_SOC | Enforce_Final_SOC | ESS_PFR_up_Flag | ESS_PFR_dn_Flag | ESS_AGC_up_Flag | ESS_AGC_dn_Flag | ESS_Spin_Flag | ESS_PFR_up_Price | ESS_PFR_dn_Price | ESS_AGC_up_Price | ESS_AGC_dn_Price | ESS_Spin_Price | ESS_Bid
1 | XP_BESS | 12033 | ESS-3 | 12 | 1 | 0.1 | 1 | 1 | 0 | 4.2 | 4.2 | 0 | 0 | 0 | 15 | 5 | 1 | 0 | 50 | 0.6 | 0.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0.001 | 0.001 | 0.001 | 0.01
2 | M014_BESS | 1203 | ESS-3 | 60 | 1 | 0.1 | 1 | 1 | 0 | 15 | 15 | 0 | 0 | 0 | 10 | 10 | 1 | 15 | 50 | 0.6 | 0.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0.001 | 0.001 | 0.001 | 0.01
3 | M0041_BESS | 93101 | ESS-3 | 120 | 1 | 0.1 | 1 | 1 | 0 | 30 | 30 | 0 | 0 | 0 | 12 | 20 | 1 | 0 | 50 | 0.6 | 0.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0.001 | 0.001 | 0.001 | 0.01
4 | M0042_BESS | 93102 | ESS-3 | 120 | 1 | 0.1 | 1 | 1 | 0 | 30 | 30 | 0.001 | 0 | 0 | 12 | 20 | 1 | 25 | 50 | 0.6 | 0.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0.001 | 0.001 | 0.001 | 0.01
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Percentage
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Percentage
Note on O1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Initial charging status. 1 means charging, 0 means not charging
Note on P1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Initial discharging status. 1 means discharging, 0 means not discharging
Note on Q1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Initial charging time. Unit: hour
Note on R1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Initial discharging time. Unit: hour
Note on S1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Initial ESS power. Unit: MW Positive means discharging Negative means charging
Note on T1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ESS ramp rate. Unit: MW/minute
Note on U1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ESS initial SOC Unit: Percentage
Note on V1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Percentage

## Line
StartBusName | EndBusName | X | FlowLim | Active
3 | 33 | 0.0027 | 28.5 | 1
3 | 111 | 0.00733 | 28.5 | 1
3 | 200 | 0.0361 | 28.5 | 1
4 | 401 | 0.00131 | 61.5 | 1
4 | 402 | 0.0012 | 61.5 | 1
5 | 8 | 0.0014 | 24.7 | 1
7 | 43 | 0.0211 | 20.52 | 1
7 | 858 | 0.0178 | 20.52 | 1
8 | 202 | 0.0186 | 28.5 | 1
8 | 840 | 0.0031 | 28.5 | 1
9 | 42 | 0.105 | 11.8 | 1
9 | 74 | 0.00585 | 9.76 | 1
12 | 15 | 0.0119 | 20.5 | 1
12 | 812 | 0.0329 | 20.5 | 1
13 | 130 | 0.0001 | 100 | 1
15 | 831 | 0.024 | 20.5 | 1
16 | 816 | 0.0047 | 12.35 | 1
16 | 898 | 0.0198 | 20.5 | 1
18 | 22 | 0.0035 | 8.8 | 1
18 | 30 | 0.0054 | 8.8 | 1
23 | 823 | 0.0016 | 61.5 | 1
25 | 35 | 0.0074 | 61.5 | 1
25 | 1203 | 0.00175 | 61.5 | 1
29 | 850 | 0.0042 | 61.5 | 1
30 | 858 | 0.0126 | 20.5 | 1
31 | 831 | 0.0147 | 20.5 | 1
33 | 858 | 0.0057 | 28.5 | 1
34 | 84 | 0.00192 | 61.5 | 1
34 | 97 | 0.0185 | 61.5 | 1
34 | 206 | 0.0177 | 61.5 | 1
34 | 623 | 0.0059 | 61.5 | 1
35 | 39 | 0.00926 | 61.5 | 1
39 | 84 | 0.022 | 89 | 1
39 | 97 | 0.00861 | 61.5 | 1
39 | 206 | 0.00833 | 61.5 | 1
39 | 636 | 0.0105 | 61.5 | 1
39 | 655 | 0.019 | 85.45 | 1
39 | 93101 | 0.0077 | 61.5 | 1
40 | 840 | 0.00941 | 13.74 | 1
41 | 42 | 0.188 | 11.8 | 1
48 | 77 | 0.00104 | 10.36 | 1
48 | 838 | 0.00143 | 10.36 | 1
50 | 850 | 0.001 | 61.5 | 1
61 | 813 | 0.0237 | 4.8 | 1
64 | 75 | 0.0177 | 12.3 | 1
64 | 826 | 0.0222 | 12.3 | 1
73 | 893 | 0.0128 | 28.5 | 1
74 | 849 | 0.0527 | 9.76 | 1
75 | 848 | 0.0291 | 13.74 | 1
82 | 88 | 0.00283 | 13.7 | 1
83 | 613 | 0.0053 | 61.5 | 1
83 | 655 | 0.00175 | 85.45 | 1
83 | 1203 | 0.013 | 61.5 | 1
84 | 823 | 0.0064 | 61.5 | 1
88 | 827 | 0.00217 | 9.8 | 1
92 | 806 | 0.0252 | 28.5 | 1
92 | 892 | 0.0121 | 28.5 | 1
93 | 893 | 0.0014 | 9.8 | 1
111 | 236 | 0.00733 | 28.5 | 1
111 | 671 | 0.00328 | 14.78 | 1
123 | 1230 | 0.0001 | 100 | 1
145 | 813 | 0.0485 | 4.8 | 1
200 | 202 | 0.0494 | 66.7 | 1
202 | 806 | 0.0261 | 28.5 | 1
202 | 819 | 0.0199 | 15.3 | 1
202 | 4002 | 0.0169 | 28.48 | 1
203 | 2030 | 0.0001 | 100 | 1
213 | 813 | 0.0485 | 4.8 | 1
217 | 812 | 0.0371 | 20.5 | 1
223 | 623 | 0.0001 | 61.5 | 1
235 | 95000 | 0.0001 | 100 | 1
236 | 840 | 0.029 | 28.5 | 1
250 | 650 | 0.0001 | 61.5 | 1
401 | 602 | 0.00087 | 85.45 | 1
402 | 2090 | 0.00352 | 61.5 | 1
425 | 4250 | 0.0001 | 100 | 1
443 | 4430 | 0.0001 | 100 | 1
534 | 5340 | 0.0001 | 100 | 1
602 | 617 | 0.0145 | 61.5 | 1
613 | 617 | 0.0133 | 61.5 | 1
623 | 650 | 0.0045 | 61.5 | 1
629 | 650 | 0.0036 | 61.5 | 1
671 | 838 | 0.027 | 8.8 | 1
729 | 7290 | 0.0001 | 100 | 1
809 | 816 | 0.0549 | 9.76 | 1
819 | 826 | 0.00955 | 20.5 | 1
823 | 850 | 0.0022 | 61.5 | 1
826 | 827 | 0.0244 | 6.8 | 1
831 | 898 | 0.00751 | 20.5 | 1
834 | 8340 | 0.0001 | 100 | 1
892 | 893 | 0.00793 | 28.5 | 1
2060 | 2061 | 0.000281 | 61.5 | 1
2090 | 93102 | 0.00136 | 61.5 | 1
8340 | 96000 | 0.0001 | 100 | 1
12032 | 12034 | 0.0001 | 100 | 1
12034 | 12035 | 0.0499 | 31.79 | 1
12034 | 12037 | 0.0501 | 31.79 | 1
12035 | 12036 | 0.00492 | 31.79 | 1
12037 | 12038 | 0.00547 | 31.79 | 1
93101 | 93102 | 0.0001 | 100 | 1
403 | 3 | 0.31311 | 100 | 1
404 | 3 | 0.067 | 100 | 1
405 | 3 | 0.0931 | 100 | 1
415 | 3 | 0.12053 | 100 | 1
804 | 4 | 0.03745 | 100 | 1
4002 | 4 | 0.05186 | 100 | 1
511 | 5 | 0.50794 | 200 | 1
407 | 7 | 0.3071 | 100 | 1
803 | 8 | 0.11892 | 100 | 1
844 | 8 | 0.22185 | 100 | 1
845 | 8 | 0.22185 | 100 | 1
846 | 8 | 0.22185 | 100 | 1
209 | 9 | 3.4366 | 100 | 1
112 | 12 | 0.09631 | 100 | 1
13 | 613 | 0.10075 | 100 | 1
216 | 16 | 0.09798 | 100 | 1
418 | 18 | 0.14076 | 100 | 1
422 | 22 | 0.12111 | 100 | 1
123 | 23 | 0.09944 | 100 | 1
125 | 25 | 0.09027 | 100 | 1
225 | 25 | 0.08848 | 100 | 1
325 | 25 | 0.08759 | 100 | 1
425 | 25 | 0.09624 | 100 | 1
129 | 29 | 0.1038 | 100 | 1
430 | 30 | 0.31722 | 100 | 1
431 | 31 | 0.0768 | 100 | 1
134 | 34 | 0.09404 | 100 | 1
234 | 34 | 0.091458 | 100 | 1
534 | 34 | 0.0826 | 100 | 1
834 | 34 | 0.09048 | 100 | 1
135 | 35 | 0.10609 | 100 | 1
235 | 35 | 0.10075 | 100 | 1
335 | 35 | 0.10448 | 100 | 1
435 | 35 | 0.09614 | 100 | 1
39 | 105 | 0.09804 | 100 | 1
39 | 106 | 0.05322 | 100 | 1
39 | 107 | 0.05345 | 100 | 1
39 | 108 | 0.03394 | 100 | 1
39 | 109 | 0.03394 | 100 | 1
39 | 110 | 0.07 | 100 | 1
139 | 39 | 0.1019 | 100 | 1
39 | 301 | 0.03575 | 100 | 1
39 | 302 | 0.03575 | 100 | 1
39 | 303 | 0.03565 | 100 | 1
39 | 304 | 0.03756 | 100 | 1
39 | 305 | 0.03756 | 100 | 1
39 | 306 | 0.03745 | 100 | 1
440 | 40 | 0.35095 | 100 | 1
141 | 41 | 0.49848 | 100 | 1
241 | 41 | 0.26577 | 100 | 1
142 | 42 | 1.4209 | 100 | 1
443 | 43 | 0.08852 | 100 | 1
44 | 145 | 0.29194 | 100 | 1
45 | 145 | 0.99087 | 100 | 1
48 | 148 | 0.85 | 100 | 1
150 | 50 | 0.0968 | 100 | 1
161 | 61 | 1.6852 | 100 | 1
164 | 64 | 1.5434 | 100 | 1
173 | 73 | 0.67379 | 100 | 1
174 | 74 | 3.0868 | 100 | 1
175 | 75 | 0.1333 | 100 | 1
177 | 77 | 0.13333 | 100 | 1
182 | 82 | 0.26886 | 100 | 1
188 | 88 | 2.6435 | 100 | 1
192 | 92 | 0.18854 | 100 | 1
493 | 93 | 0.19207 | 100 | 1
971 | 97 | 0.06 | 100 | 1
898 | 98 | 0.0757 | 100 | 1
101 | 200 | 0.09029 | 100 | 1
501 | 101 | 0.63394 | 100 | 1
102 | 200 | 0.11517 | 100 | 1
502 | 102 | 0.83478 | 100 | 1
103 | 200 | 0.05829 | 100 | 1
503 | 103 | 0.84086 | 100 | 1
104 | 200 | 0.03749 | 100 | 1
504 | 104 | 0.8 | 100 | 1
127 | 827 | 0.34366 | 100 | 1
136 | 636 | 0.09565 | 100 | 1
155 | 655 | 0.19733 | 100 | 1
202 | 602 | 0.06459 | 100 | 1
203 | 602 | 0.0855 | 100 | 1
204 | 602 | 0.0968 | 100 | 1
205 | 602 | 0.0855 | 100 | 1
206 | 2060 | 0.0294 | 100 | 1
213 | 613 | 0.18135 | 100 | 1
217 | 617 | 0.07808 | 100 | 1
723 | 223 | 0.08363 | 100 | 1
436 | 236 | 0.36976 | 100 | 1
236 | 636 | 0.09 | 100 | 1
750 | 250 | 0.09526 | 100 | 1
336 | 636 | 0.09565 | 100 | 1
817 | 617 | 0.08212 | 100 | 1
917 | 617 | 0.09177 | 100 | 1
729 | 629 | 0.09944 | 100 | 1
849 | 809 | 0.0367 | 100 | 1
971 | 90971 | 0.01654 | 100 | 1
1203 | 12031 | 0.046 | 100 | 1
1203 | 12032 | 0.08 | 100 | 1
2062 | 2060 | 0.055 | 100 | 1
2061 | 92061 | 0.0575 | 100 | 1
2091 | 2090 | 0.084888 | 100 | 1
12033 | 12032 | 0.06 | 100 | 1
12036 | 92031 | 0.06 | 100 | 1
12038 | 92032 | 0.06 | 100 | 1
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1 means active 0 means inactive Active ones will also save the calculated power flow values in the results

## Reserve
PFR_up_Flag | PFR_dn_Flag | AGC_up_Flag | AGC_dn_Flag | Spin_Flag | NonSpin_Flag | PFR_up_Req | PFR_dn_Req | AGC_up_Req | AGC_dn_Req | Spin_Req | NonSpin_Req | VOIA_PFR_up | VOIA_PFR_dn | VOIA_AGC_up | VOIA_AGC_dn | VOIA_Spin | VOIA_NonSpin | PFR_up_Rec_Time | PFR_dn_Rec_Time | AGC_up_Rec_Time | AGC_dn_Rec_Time | Spin_Rec_Time | NonSpin_Rec_Time | Gen_DB
1 | 0 | 1 | 1 | 0 | 0 | 0.01 |  | 0.06 | 0.06 | 0 | 0 | 80000 |  | 80000 | 80000 | 80000 | 80000 | 0.1 | 0.1 | 5 | 5 | 15 | 30 | 0.036

## Loss
hour | B1 | B2 | B3 | B11 | B12 | B13 | B14 | B21 | B22 | B23 | B24 | B31 | B32 | B33 | B101 | B111 | B231 | B311 | B312
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24

## Load Distribution Factor
busname | load
3 | 0
4 | 0
5 | 0
7 | 0
8 | 0
9 | 0
12 | 0
13 | 0.010559
15 | 0
16 | 0
18 | 0
22 | 0
23 | 0
25 | 0
29 | 0
30 | 0
31 | 0
33 | 0
34 | 0
35 | 0
39 | 0
40 | 0
41 | 0
42 | 0
43 | 0
44 | 0.00098738
45 | 0.00028387
48 | 0
50 | 0
61 | 0
64 | 0
73 | 0
74 | 0
75 | 0
77 | 0
82 | 0
83 | 0
84 | 0
88 | 0
92 | 0
93 | 0
97 | 0
98 | 0.0011849
101 | 0
102 | 0
103 | 0
104 | 0
105 | 0
106 | 0.0012342
107 | 0.0012342
108 | 0.0018513
109 | 0.0018513
110 | 0
111 | 0
112 | 0.0086149
123 | 0.010121
125 | 0.023197
127 | 0
129 | 0.011818
130 | 0.010559
134 | 0.012756
135 | 0.038915
136 | 0.02445
139 | 0.030047
141 | 0.004437
142 | 0.00047518
145 | 0
148 | 0.00015428
150 | 0.040297
155 | 0.0016724
161 | 0.0022895
164 | 4.3198e-05
173 | 0.0037459
174 | 0.00049986
175 | 0.00096887
177 | 0.0024067
182 | 3.7027e-05
188 | 3.7027e-05
192 | 0.0035484
200 | 0
202 | 0
203 | 0.037866
204 | 0.020704
205 | 0.031343
206 | 0
209 | 0.00037644
213 | 0
216 | 0.0075103
217 | 0
223 | 0
225 | 0.03259
234 | 0.01515
235 | 0.10311
236 | 0
241 | 0.0044802
250 | 0
301 | 0.0018513
302 | 0.0018513
303 | 0.0024685
304 | 0.0018513
305 | 0.0018513
306 | 0.0024685
325 | 0.014866
335 | 0.012811
336 | 0.050412
401 | 0
402 | 0
403 | 0.0040174
404 | 0.0044432
405 | 0.0036163
407 | 0.0022957
415 | 0.023888
418 | 0.0093246
422 | 0.0013823
425 | 0.011429
430 | 0.0022278
431 | 0.0058317
435 | 0.025487
436 | 0.0010429
440 | 0.0088679
443 | 0.0037706
493 | 0.0084298
501 | 0.0018513
502 | 0.0018513
503 | 0.0043198
504 | 0.0043198
511 | 0.00018513
534 | 0.0052887
602 | 0
613 | 0
617 | 0
623 | 0
629 | 0
636 | 0
650 | 0
655 | 0
671 | 0
723 | 0.050079
729 | 0.010812
750 | 0.019982
803 | 0.037329
804 | 0
806 | 0
809 | 0
812 | 0
813 | 0
816 | 0
817 | 0.007177
819 | 0
823 | 0
826 | 0
827 | 0
831 | 0
834 | 0.01357
838 | 0
840 | 0
844 | 0.0028572
845 | 0.0026906
846 | 0.0013515
848 | 0
849 | 0
850 | 0
858 | 0
892 | 0
893 | 0
898 | 0
917 | 0.016724
971 | 0
1203 | 0
1230 | 0.010121
2030 | 0.037866
2060 | 0
2061 | 0
2062 | 0
2090 | 0
2091 | 0
4002 | 0
4250 | 0.011429
4430 | 0.0059922
5340 | 0.024253
7290 | 0.010812
8340 | 0.0092443
12031 | 0
12032 | 0
12033 | 0
12034 | 0
12035 | 0
12036 | 0
12037 | 0
12038 | 0
90971 | 0
92031 | 0
92032 | 0
92061 | 0
93101 | 0
93102 | 0
95000 | 0
96000 | 0

## Timeseries Name
SystemAttribute | UserName
TIMESERIES_DAUC_AS | TIMESERIES_DA_AS.csv
TIMESERIES_DAUC_ESS | TIMESERIES_DA_ESS.csv
TIMESERIES_DAUC_GEN | TIMESERIES_DA_GEN.csv
TIMESERIES_DAUC_Load_Loss | TIMESERIES_DA_LOAD.csv
TIMESERIES_DAUC_LOAD | TIMESERIES_DA_LOAD.csv
TIMESERIES_RTED_AS | TIMESERIES_RT_AS.csv
TIMESERIES_RTED_ESS_CH | TIMESERIES_RT_ESS_CH.csv
TIMESERIES_RTED_ESS_DIS | TIMESERIES_RT_ESS_DIS.csv
TIMESERIES_RTED_ESS_LOSS | TIMESERIES_RT_ESS_LOSS.csv
TIMESERIES_RTED_ESS | TIMESERIES_RT_ESS.csv
TIMESERIES_RTED_GEN_PMAX | TIMESERIES_RT_GEN_PMAX.csv
TIMESERIES_RTED_GEN_PMIN | TIMESERIES_RT_GEN_PMIN.csv
TIMESERIES_RTED_GEN | TIMESERIES_RT_GEN.csv
TIMESERIES_RTED_Load_Loss | TIMESERIES_RT_LOAD.csv
TIMESERIES_RTED_LOAD | TIMESERIES_RT_LOAD.csv
TIMESERIES_RTED_NonSpin | TIMESERIES_RT_LOAD.csv
TIMESERIES_RTUC_AS | TIMESERIES_DA_AS.csv
TIMESERIES_RTUC_ESS | TIMESERIES_DA_ESS.csv
TIMESERIES_RTUC_GEN | TIMESERIES_DA_GEN.csv
TIMESERIES_RTUC_Load_Loss | TIMESERIES_DA_LOAD.csv
TIMESERIES_RTUC_LOAD | TIMESERIES_DA_LOAD.csv

## Dynamic Parameters
parameters | value
GenMapping | GenMapping_HPP.xlsx
ESS | Input_HPP.xlsx
folder | PSSE_Time_Series
run_name | Case2_24hr_run_3_CL
w_step | 10
re_resolution | 1
ld_resolution | 10
psse_file | m2022dm_v4_8_asym.dyr
power_flow_file | power_flow_1.sav
load_10s | load_10s.csv
renewable_1s | renewable_1s.csv
renewable_1s_max_sunny | renewable_1s_max_sunny.csv
RTED_renewable_max | RTED_renewable_max.csv
RTEDNativeLoad | RTEDNativeLoad.csv